Arcadia ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

B20 Exterior Enclosure

B2010 Exterior Walls

Framed w/ Panel Siding: Replace 90%, $1,280,268, Wood Siding in major disrepair.

B2020 Exterior Windows

Aluminum/ Steel: Replace 100%, $746,823, Replace all Alum. Windows.

C30 Interior Finishes

C3010 Wall Finishes

Wallboard: Replace 100%, $213,378

C3020 Floor Finishes

Wood Sports Floor: Replace 100%, $304,064

D20 Plumbing

D2010 Plumbing Fixtures: Replace 100%, $248,941

D2020 Domestic Water Distribution: Replace 100%, $106,689

D40 Fire Protection

D4010 Sprinklers: Replace 100%, $133,361, No current system, complete new install

D50 Electrical

D5010 Electrical Service & Distribution: Replace 40%, $193,463

D5020 Lighting and Branch Wiring: Replace 100%, $640,134

D5030 Communications & Security

Voice/ Data System: Replace 100%, $302,286

Clock / Intercom System: Replace 100%, $266,723

Closed Circuit Surveillance: Replace 100%, $62,235

Access Control System: Replace 100%, $53,345

Fire Alarm / Detection: Replace 100%, $115,580

Lighting Control System: Replace 100%, $53,345

E10 Equipment

E1010 Commercial Equipment

Food Service: Replace 100%, $99,576

E1020 Institutional Equipment

Restroom Accessories/ Stalls: Replace 100%, $1,315,831

E20 Furnishings

E2010 Fixed Furnishings: Replace 100%, $640,134

E2020 Movable Furnishings: Replace 100%, $640,134

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Crestview Heights ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

A10 Foundations

A1030 Slab on Grade: Replace 100%, $398,640, Moderate Cracking

B30 Roofing

B3010 Roof Coverings:

Asphalt Shingles: Replace 100%, $815,617, Replace entire 3 tab roof

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $398,640, Replacement of Copper Pipes

D30 HVAC

D3020 Heat Generating Systems:

Boiler: Replace 100%, $558,096, Replace diesel boiler with electric system.

D3040 Distribution Systems:

Hot Water Return & Supply: Replace 100%, $637,824, Replacement of Copper Pipes

D40 Fire Protection

D4010 Sprinklers: Replace 100%, $458,436, Complete replacement of Dry System needed

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $438,504, VOIP System

Closed Circuit Surveillance: Replace 100%, $51,823, Expand Camera System

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Early Childhood

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

B20 Exterior Enclosure

B2010 Exterior Walls

Framed w/ Panel Siding: Replace 50%, $129,800, Replace all siding

B2020 Exterior Windows

Aluminum/ Steel: Replace 100%, $84,370, Replace all Windows.

B30 Roofing

B3010 Roof Coverings:

Built-Up: Replace 100%, $815,617, Replace entire 3 tab roof

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $32,450, Replacement of Copper Pipes

D30 HVAC

D3060 Controls & Instrumentation: Replace 175%, $34,073, Install Heating Control System

D40 Fire Protection

D4010 Sprinklers: Replace 250%, $93,294, Install Sprinkler System

G30 Site Mechanical Utilities

G3010 Water Supply

Fire: Replace 100%, $16,225, Upgrade water supply for Sprinkler System

G40 Site Electrical Utilities

G4020 Site Lighting: Replace 100%, $19,470, Parking lot lights upgrade to LED Fixtures

Other: Replace Playground Equipment, $70,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Lincoln County District Office

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 300%, $219,351, VOIP System

Other: Demo Parking Garage, $250,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Newport HS - East

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $285,120, Replacement of Copper & Galv. Plumbing

D30 HVAC

D3020 Heat Generating Systems:

Boiler: Replace 100%, $665,280, Replace both HW Boilers.

Air Handler: Replace 100%, $237,600

E10 Equipment

E1010 Commercial Equipment

Food Service: Replace 100%, $266,112, Kitchen Remodel

Other: Grandstands - Demo and Replacement, $2,000,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Newport HS - West

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $188,100, Replacement of Copper & Galv. Plumbing

D30 HVAC

D3020 Heat Generating Systems:

Air Handler: Replace 125%, $97,969

D3040 Distribution Systems:

Hot Water Return & Supply: Replace 100%, $501,600

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $344,850, VOIP System

Other: Grandstands - Demo and Replacement, $2,000,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Newport MS

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

B30 Roofing

B3010 Roof Coverings:

Built-Up: Replace 100%, $1,484,930

C20 Stairs

C2020 Stair Finishes:

Resilient: 10000%, Replace 5000%, $55,000, Stair Treads & SS Handrails

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $262,046, Replacement of Copper Plumbing

D30 HVAC

D3020 Heat Generating Systems:

Boiler: Replace 100%, $349,395, Replacement of (2x) HW Boilers – Natural Gas

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $480,418, VOIP System

G40 Site Electrical Utilities

G4010 Electrical Distribution:

Generator: Replace 125%, $247,500, Generator and Fuel Tank

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Oceanlake ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

B10 Superstructure

B1020 Roof Construction:

Wood: Replace 100%, $905,273, Create Pitched Roof over hallway in North Wing

D40 Fire Protection

D4010 Sprinklers: Replace 250%, $565,795, Install Sprinkler System

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $118,055, VOIP System

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Sam Case ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D40 Fire Protection

D4010 Sprinklers: Replace 150%, $319,071, Install Sprinkler System

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $311,980, VOIP System

Other: Site Prep to clear behind SC, $200,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Taft ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

B30 Roofing

B3010 Roof Coverings:

Built-Up: Replace 150%, $109,572

D20 Plumbing

D2020 Domestic Water Distribution: Replace 140%, $306,800, Replace of Copper Plumbing & Main Meter

D40 Fire Protection

D4010 Sprinklers: Replace 150%, $319,071, Install Sprinkler System

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $401,762, VOIP System

E20 Furnishings

E2010 Fixed Furnishings: Replace 100%, $438,286, Replacement of Cabinetry

Other: Covered Play Shed, $300,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Taft HS

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

B20 Exterior Enclosure

B2020 Exterior Windows

Aluminum/ Steel: Replace 100%, $2,166,004, Replace all Alum. Windows.

C10 Interior Construction

C1020 Interior Doors:

Hollow Metal: Replace 170, x6.00, $1,234,200

C20 Stairs

C2020 Stair Finishes:

Resilient: 1000%, Replace 50,000%, $55,000

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $510,048, Replace Copper lines

D30 HVAC

D3020 Heat Generating Systems:

Boiler: Replace 100%, $1,190,112

G30 Site Mechanical Utilities

G3060 Fuel Distribution: Replace 200%, $340,032, Replace 400 Gallon UST Diesel Tank

G40 Site Electrical Utilities

G4010 Electrical Distribution:

Generator: Replace 125%, $198,000, Replace current Army Surplus Generator

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Teaching and Learning Center

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D40 Fire Protection

D4010 Sprinklers: Replace 200%, $177,375, Install Sprinkler System

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $130,075, VOIP System

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Toledo ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

C30 Interior Finishes

C3020 Floor Finishes

Resilient Sheet: Replace 250%, $105,095, Replace Gym Sheet covering to floating wood floor.

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Toledo Fire Dept. – Contractor Building

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D40 Fire Protection

D4010 Sprinklers: Replace 600%, $126,867, Install Sprinkler System

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 300%, $60,675, VOIP System

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Toledo Fire Dept. – Facilities & Maintenance

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D40 Fire Protection

D4010 Sprinklers: Replace 300%, $117,377, Install Sprinkler System

D50 Electrical

D5030 Communications & Security

Voice / Data System: Replace 100%, $57,384, VOIP System

Other: Replace East Grounds Building, $150,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Toledo Jr. Sr. HS

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

C20 Stairs

C2020 Stair Finishes:

Resilient: 5000%, Replace 2000%, $11,000

C30 Interior Finishes

C3020 Floor Finishes

Carpet/ Soft Surfaces: Replace 400%, $38,656

D20 Plumbing

D2020 Domestic Water Distribution: Replace 100%, $412,995

D30 HVAC

D3020 Heat Generating Systems:

Boiler: Replace 100%, $330,396, Replace with efficient Hot Water Boilers

D3040 Distribution Systems:

Hot Water Return & Supply: Replace 200%, $1,321,584, Replace all piping-convert steam to HW.

D3050 Terminal & Package Units:

In-room Ventilator Unit: Replace 150%, $198,238, Convert Steam unit vents to HW.

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Waldport HS

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D30 HVAC

D3020 Heat Generating Systems:

Boiler: Replace 100%, $248,239, Replace with Electric Option

G30 Site Mechanical Utilities

G3060 Fuel Distribution: Replace 200%, $124,120, Replace 400 Gallon UST to 10,000

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information

Yaquina View ES

- Base Information Sheet: Missing Site Acreage

- Physical Condition Assessment Sheet: See Below

D40 Fire Protection

D4010 Sprinklers: Replace 100%, $182,412

- Security Sheet: Missing Information

- ADA Sheet: Missing Information

- IT Sheet: Missing Information

- Harmful Substances: Missing Information

- Indoor Air Quality Sheet: Missing Information